## Instructions
Bulk Upload Excel Template
Data Points came from version: FY2026 V6
Instructions:
1. Each sheet corresponds to a specification category.
2. Do not rename the sheets or the column headers.
3. Fill in the rows below the headers to add or update items.
4. Upload this file back into the system to perform a bulk import.

## Prelim General
item_code | item_name | item_type | price_total
PRL-001 | Council Permission | Council DA | 4106
PRL-002 | Included (Inspection Required) | Structural Engineering | 1800
PRL-003 | Not Required | Electrical Inspection
PRL-004 | Other Engineering | Not Included

## Grid Connection
item_code | dnsp | state | low_size_kva | high_side_kva | app_fee_tech_assessment | total_network_fee | additional_cost | hv_site_variation | full_export_variation | is_bess_only | is_solar_or_solar_bess | preliminary_enquiry | is_project_needed | notes
GRD-001 | SAPN | SA | 200.01 | 500 | 5038 | 5038 |  | 24388 | 21362 | FALSE | FALSE |  | FALSE
GRD-002 | Ausgrid | NSW | 30.01 | 200 | 561 | 561 |  |  |  | TRUE | TRUE |  | TRUE

## Grid Protection
item_code | dnsp | required_over_kva | is_export_limit_enforced
GPU-001 | SAPN | 200 | TRUE

## Panels
item_code | item_name | brand | wattage | cost_per_watt | item_type | product_warranty | performance_warranty | is_local_stock | datasheet_code
PNL-001 | 520W Aiko Neostar 2P N-Type ABC Monofacial | AIKO | 520 | 0.215 | Panel | 25 | 30 | TRUE | AIKO-A520-MAH60Mw
PNL-002 | Premium Commercial Module | Tier 1 | 500 | 0.219 | Panel | 12 | 25 | TRUE

## Inverters
item_code | brand | model | watt | cost_per_watt | warranty_years
INV-001 | Sungrow | Sungrow SG5RT | 5000 |  | 10
INV-002 | Sungrow | Sungrow SG110CX-P2 | 110000 |  | 10

## Optimisers
item_code | optimiser_name | size_va | price_per_unit
OPT-001 | Tigo TS4-A-O Optimiser | 700 | 62

## Racking
item_code | racking_type | cost_per_panel
RCK-001 | Trimdek Installation

## Additional Racking
item_code | item_name | cost_per_item | unit
ADR-001 | Flush Mounted - Sunlock | 4 | Per Panel
ADR-002 | Flush Mounted |  | Per Panel

## Inverter Station
item_code | inverter_station | inverter_station_cost_per_unit
IST-001 | Standard | 300

## PVDB
item_code | pvdb_type | export_limited_price | full_export_price
PVD-001 | GPU | 6600 | 5500

## PFC
item_code | pfc_type | price_per_unit
PFC-001 | 50 kVAr | 5000

## NetNada
item_code | payment_plan | plan_type | price
NET-001 | Per Annum | Basic Plan | 5000

## NetNada Addons
item_code | item_name | payment_plan | price
NTA-001 | Mandatory Reporting Requirement | Per Annum | 20000

## Harm Filtering
item_code | item_name | item_type | price_per_unit
HRM-001 | HRM-001 | Required | 1500

## Batteries
item_code | item_name | brand | nominal_kwh | battery_price_fwb | product_warranty | performance_warranty | is_pcs_included | suggested_pcs
BAT-001 | 5 kWh - 1x iHome-B5-HD02 | Chelion | 5 |  | 3 |  | FALSE | 5 kVA - 1x iHome-INV5KHD01H01 Single Phase

## Battery Inverter
item_code | item_name | brand | kva | pcs_price_excl_gst
PCS-001 | 5 kVA - 1x iHome-INV5KHD01H01 Single Phase | Chelion | 5 | 1000

## BESSDB
item_code | bessdb_type | export_limited_price | full_export_price
BDB-001 | GPU | 3000 | 2500

## AC Cabling
item_code | cable_type | size_mm2 | conductor_material | price_per_type
CAB-001 |  | 35 | Copper

## Cabling Addons
item_code | item_name | addon_type | cost_per_meter
CBA-001 | 150mm Tray GAL | Cable Tray | 21.17

## Switch Gear
item_code | item_name | item_type | total_price
SWG-001 | Rooftop Isolator | DC Switchgear | 40

## AC Breaker
item_code | name | breaker_type | rating_a | price_per_breaker
ACB-001 | 5A MCB | MCB | 5 | 50

## Install
item_code | install_item | item_type | price | unit
INS-001 | Standard | Installation Labour | 0.28 | Per Watt

## Lifting
item_code | name | lifting_type | cost_per_time | number_of_lifts | establishments | is_battery_install | unit
LFT-001 | Crane Lifts To Rooftop | Lifting of Materials | 1300 | 8 | 1 | FALSE | Per Hour

## Travel Accomms Freight
item_code | travel | accom | freight | distance_frm_city_center | travel_rates
LOG-001 | 2600 | 960 | 11000 | 800 | 8

## Safety
item_code | item_name | item_type | price | unit
SAF-001 | Permanent Skylight Mesh | Skylight Safety | 2400 | Per Meter

## Monitoring Warranty
item_code | item_name | item_type | price | unit
MON-001 | Solar Analytics Generation + Consumption | System Monitoring | 1017 | Total

## Monitoring Addons
item_code | item_name | item_type | price | unit
MOA-001 | High gain antenna & mounting kit | WW Gear Pricing | 85 | Total

## Witness Injection Testing
item_code | dnsp | required_over_kva | price_total | solar_solar_bess_price | bess_only_price
WIT-001 | SAPN | 30 | 2000 | 2000 | 2000
WIT-002 | Ausgrid | 200 | 1000

## AC Map
size_mm2 | copper_single_core | copper_4c_e | alu_single_core | alu_4c_e
1.5 |  | 1.69
2.5 |  | 2.91
4 |  | 4.45
6 |  | 6.04
10 |  | 11.19
16 |  | 16.94
25 | 5.81 | 24.99 | 1.83
35 | 7.96 | 35.35 | 1.98
50 | 11.07 | 47.97 | 3.48 | 15.75
70 | 15.17 | 66.49 | 3.77 | 16.89
95 | 20.01 | 85.84 | 4.4 | 19.59
120 | 25.39 | 109.51 | 5.47 | 25.36
150 | 31.34 | 136.43 | 6.7 | 30.28
185 | 41.9 | 182.77 | 8.21 | 36.62
240 | 51.11 | 224.45 | 10.91 | 48.06
300 | 64.75 | 284.38 | 13.45 | 59.27
400 | 83.41 | 359.03 | 17.04 | 76.36